## metrics data - projec
Snugg Pro ID | kWh Saved | Mbtu Saved | Annual Fuel Dollars | Annual Electric Dollars | Total Savings | CO 2 Tons | Mbtu Percent | CO 2 Percent | Mirr | SIR | Annual Fuel Therms Saved | Year Built | Conditioned Area (sqft) | Front of Building Orientation | Blower Door Reading | Blower Door Reading Improved | HVAC Duct Location | HVAC Duct Leakage Value | HVAC Duct Leakage Value Improved | HVAC Duct Efficiency | HVAC Duct Efficiency Improved | HVAC System Equipment Type | HVAC Heating Energy Source | HVAC Heating Is Condensing
272300 | 1099.927 | 3.76 | 0 | 138 | 138.37 | 4.9 | 10 | 10 | 3 | 0.7 | 0 | 1991 | 1104 | South West | 1654 | 1240.5 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 92.82 | 92.82 | Central Heat Pump (shared ducts) | Electricity
269637 | 15.1345 | 4.67 | 58 | 2 | 59.46 | 4 | 7 | 6 | 9 | 2 | 46.2263 | 1990 | 2339 | South East | 2989 | 2974 | Crawlspace (unconditioned) | 0 | 0 | 78.41 | 81.07 | Furnace / Central AC (shared ducts) | Natural Gas | No
271000 | 507.002 | 2.03 | 0 | 75 | 63.78 | 3.4 | 7 | 8 | 2 | 0.6 | 0 | 1962 | 1935 | North West | 1143 | 981 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
166285 | 13390.0612 | 59.24 | 294 | 2140 | 1798.38 | 4 | 53 | 58 | 4 | 0.8 | 80.562 | 1999 | 3082 | North | 3195 | 1928 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Propane | Yes
275290 | -26.2008 | 9.51 | 119 | -3 | 108.59 | 5.5 | 14 | 8 | 8 | 1.7 | 95.9479 | 1950 | 768 | North East | 2690 | 1714 | Attic (unconditioned) | 0 | 0 | 88.98 | 88.98 | Furnace with standalone ducts | Natural Gas | Yes
279708 | -3997.5747 | 52.5 | 821 | -502 | 317.89 | 11.4 | 38 | 11 | -2 | 0.3 | 661.4103 | 1939 | 2319 | North West | 3223 | 2417.25 | 50/50 Basement (unconditioned) - Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Natural Gas | No
271714 | 3086.233 | 10.53 | 0 | 388 | 388.25 | 3.6 | 30 | 30 | -1 | 0.3 | 0 | 1976 | 1162 | North West | 1380 | 1374 | [5 empty] | Ductless Heat Pump | Electricity
274898 | 84.1468 | 15.9 | 200 | -9 | 400.34 | 48.9 | 2 | 2 | 0 | 0 | 161.4375 | 1961 | 1539 | West | 5591 | 3699 | Crawlspace (unconditioned) | 0 | 0 | 83.02 | 93.56 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
278047 | 659.1041 | 2.46 | 0 | 91 | 82.91 | 5.5 | 4 | 4 | -1 | 0.3 | 0 | 2003 | 2392 | South West | 2722 | 2579 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
276549 | 3588.0982 | 5.22 | 0 | 218 | 451.38 | 4.7 | 9 | 10 | 0 | 0 | 0 | 1972 | 1775 | South East | 4252 | 4016 | Crawlspace (unconditioned) | 0 | 0 | 75.84 | 82.04 | Central Heat Pump (shared ducts) | Electricity
276844 | 206.9451 | 9.29 | 107 | 26 | 132.57 | 3.6 | 15 | 13 | 7 | 1.4 | 85.8508 | 1990 | 2292 | South East | 1960 | 1798 | 50/50 Attic - Basement (both unconditioned) | 0 | 0 | 80.65 | 93.8 | Furnace / Central AC (shared ducts) | Natural Gas | No
275286 | 5779.168 | 19.75 | 0 | 728 | 727.02 | 3.2 | 37 | 37 | 19 | 12.6 | 0 | 1972 | 1194.3 | West | 2680 | 2128 | [5 empty] | Electric Resistance | Electricity
277164 | 737.8417 | 2.54 | 0 | 94 | 92.82 | 3.7 | 8 | 9 | -5 | 0.1 | 0 | 1988 | 628 | North West | 1211 | 908.25 | Attic (unconditioned) | 0 | 0 | 79.54 | 84.93 | Central Heat Pump (shared ducts) | Electricity
279958 | 1728.0611 | 5.9 | 0 | 218 | 217.39 | 6.1 | 11 | 13 | 5 | 0.9 | 0 | 2015 | 1992 | North East | 1800 | 1350 | Crawlspace (unconditioned) | 0 | 0 | 85.4 | 100 | Ductless Heat Pump | Electricity
277425 | 1462.4905 | 11.7 | 275 | 142 | 546.18 | 10.9 | 10 | 9 | 9 | 2.2 | 78.383 | 1984 | 3284 | North | 2281 | 2159 | Intentionally Conditioned Space | 0 | 0 | 99.71 | 99.71 | Ductless Heat Pump | Electricity | Yes
278052 | 18.1924 | 17.3 | 358 | 18 | 93.83 | 7.8 | 15 | 14 | 13 | 4.6 | 167.9256 | 1950 | 1142 | South West | 2127 | 1 | Attic (unconditioned) | 0 | 0 | 84.67 | 100 | Central Heat Pump (shared ducts) | Fuel Oil
280792 | 4112.1732 | 67.82 | 677 | 488 | 1369.98 | 22 | 19 | 18 | 6 | 1.1 | 545.8502 | 1950 | 8892 | South East | 15771 | 11828.25 | Crawlspace (unconditioned) | 0 | 0 | 69.32 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
277420 | 2255.4845 | 6.48 | 0 | 239 | 283.74 | 5.7 | 15 | 15 | -1 | 0.3 | 0 | 1980 | 1200 | North West | 1428 | 1400 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
275606 | 1097.6282 | 5 | 15 | 139 | 150.19 | 6.3 | 5 | 6 | 0 | 0 | 12.1731 | 1994 | 3400 | South | 2866 | 2506 | 50/50 Attic - Basement (both unconditioned) | 0 | 0 | 89.39 | 93.88 | Central Heat Pump (shared ducts) | Electricity | No
281077 | 9560.5052 | 19.46 | 0 | 717 | 1202.71 | 9.1 | 24 | 24 | 4 | 0.9 | 0 | 1875 | 4178 | South East | 6139 | 4604.25 | Attic (unconditioned) | 0 | 0 | 84.38 | 100 | Central Heat Pump (shared ducts) | Electricity
281643 | 902.3265 | 4.44 | 17 | 113 | 130.46 | 0.53581 | 6 | 7 | 0
281739 | 3059.7393 | 6.44 | 0 | 238 | 384.92 | 4.1 | 19 | 19 | 0 | 0.4 | 0 | 1978 | 1344 | South West | 1422 | 1066.5 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 88.41 | 88.41 | Central Heat Pump (shared ducts) | Electricity
281806 | 1820.3389 | 0.55 | 0 | 20 | 229 | 2.8 | 2 | 2 | 6 | 1.2 | 0 | 2019 | 2160 | East | 769 | 762 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
281711 | 2926.8652 | 56.08 | 846 | -447 | 560.5 | 8.4 | 48 | 18 | -1 | 0.3 | 681.9172 | 1964 | 2133 | North West | 4348 | 3261 | Basement (unconditioned) | 0 | 0 | 100 | 90.22 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
282053 | 9885.9472 | 19.8 | 0 | 730 | 1243.65 | 12.4 | 13 | 13 | 6 | 1.2 | 0 | 1920 | 2968 | South | 7902 | 5926.5 | Basement (unconditioned) | 0 | 0 | 88.47 | 93.47 | Central Heat Pump (shared ducts) | Electricity
282280 | 410.112 | 1.38 | 0 | 51 | 51.59 | 6.5 | 3 | 3 | 4 | 0.8 | 0 | 2023 | 1292 | South West | 1683.64 | 1262.73 | Attic (unconditioned) | 0 | 0 | 88.37 | 86.45 | Central Heat Pump (shared ducts) | Electricity
282336 | 3889.2102 | 76.5 | 512 | 428 | 939.94 | 5.3495 | 20 | 20 | 1
282167 | 1204.5857 | 13.09 | 127 | 102 | 369.62 | 5.3 | 16 | 15 | 10 | 2.4 | 103.0173 | 1940 | 3829 | South West | 4377 | 3282.75 | Attic (unconditioned) | 0 | 0 | 78.64 | 57.28 | Ductless Heat Pump | Electricity | Yes
274895 | 993.5018 | 4.71 | 0 | 174 | 124.98 | 7.5 | 5 | 6 | 0 | 0 | 0 | 1967 | 4379 | South West | 6084 | 5769 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 88.42 | 88.42 | Shallow Loop Ground Source Heat Pump (shared ducts) | Electricity
279846 | 1883.0427 | 23.34 | 383 | 197 | 726.14 | 12.1 | 17 | 15 | 34 | 0 | 179.7912 | 1962 | 1818 | West | 2696 | 2022 | [5 empty] | Boiler | Fuel Oil
282644 | 2683.1583 | 5.22 | 0 | 192 | 337.54 | 6.3 | 11 | 11 | -3 | 0.2 | 0 | 1997 | 1896 | North East | 3208 | 2893 | Attic (unconditioned) | 0 | 0 | 85.69 | 85.35 | Central Heat Pump (shared ducts) | Electricity
282358 | 4238.9254 | 14.46 | 0 | 533 | 533.26 | 2.5 | 35 | 35 | 3 | 0.7 | 0 | 1995 | 968 | West | 4418 | 3313.5 | Crawlspace (unconditioned) | 0 | 0 | 88.02 | 100 | Central Heat Pump (shared ducts) | Electricity
282799 | 2176.8095 | 0.23 | 0 | 8 | 273.84 | 4.3 | 1 | 1 | -4 | 0.2 | 0 | 2022 | 2160 | North | 968 | 726 | [5 empty] | Ductless Heat Pump | Electricity
282824 | 100.3792 | 9.84 | 122 | -1 | 57.27 | 3.7 | 15 | 12 | 0 | 0 | 98.4585 | 1956 | 1145 | South East | 2194 | 1878 | 50/50 Attic - Crawlspace (both unconditioned) | 0 | 0 | 90.84 | 90.84 | Furnace / Central AC (shared ducts) | Natural Gas | No
282836 | 152.0492 | 3.65 | 41 | 14 | 139.49 | 3.7 | 7 | 6 | -2 | 0.3 | 32.42 | 1936 | 864 | South West | 1904 | 1428 | 50/50 Attic - Crawlspace (both unconditioned) | 0 | 0 | 88.94 | 94.13 | Furnace / Central AC (shared ducts) | Natural Gas | No
277159 | 995.543 | 31.44 | 350 | 119 | 489.55 | 61.6 | 3 | 3 | 17 | 8.9 | 282.1569 | 1950 | 1229 | South West | 2679 | 2000 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
283109 | 996.1141 | 3.4 | 0 | 125 | 125.31 | 0.51154 | 6 | 6 | 0
282866 | 2715.7402 | 30.8 | 472 | -268 | 631.16 | 5.7 | 39 | 14 | -2 | 0.3 | 380.661 | 1989 | 2211 | South | 2709 | 2031.75 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 93.18 | 93.18 | Central Heat Pump (shared ducts) | Electricity | Yes
282745 | 9193.0114 | 1.27 | 0 | 46 | 1156.48 | 7.9 | 2 | 2 | 1 | 0.5 | 0 | 1985 | 2425 | East | 2837 | 2127.75 | Attic (unconditioned) | 0 | 0 | 90.68 | 100 | Central Heat Pump (shared ducts) | Electricity
283199 | 5188.4796 | 5.83 | 0 | 215 | 652.71 | 7.2 | 11 | 11 | 0 | 0.4 | 0 | 2016 | 1878 | North West | 2927 | 2195.25 | Crawlspace (unconditioned) | 0 | 0 | 86.66 | 100 | Central Heat Pump (shared ducts) | Electricity
283220 | 10434.1798 | 12.24 | 0 | 451 | 1312.62 | 13.8 | 12 | 12 | 10 | 2.5 | 0 | 1971 | 2040 | North West | 2230 | 1672.5 | Attic (unconditioned) | 0 | 0 | 78.04 | 83.46 | Central Heat Pump (shared ducts) | Electricity
283235 | 2691.1297 | 12.11 | -17 | 465 | 1473.62 | 8 | 14 | 19 | 5 | 0.9 | -4.936 | 1945 | 2479 | North West | 7000 | 5000 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 88.6 | 93.03 | Central Heat Pump (shared ducts) | Electricity | Yes
283377 | 3697.2215 | 11.83 | 0 | 436 | 465.11 | 1.5 | 54 | 54 | 1 | 0.4 | 0 | 1965 | 1512 | North West | 2043 | 1532.25 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 92.73 | 92.73 | Central Heat Pump (shared ducts) | Electricity
278836 | 5070.7077 | 31.19 | 419 | 711 | 1066.91 | 3.1 | 49 | 46 | 18 | 9.7 | 119.0663 | 1974 | 984 | West | 2803 | 2242 |  |  | 0 |  | 100 | Electric Resistance | Electricity
283623 | 3600.0094 | -0.36 | 0 | -13 | 452.88 | 6.9 | -1 | -1 | -100 | 0 | 0 | 1968 | 1011 | South East | 3536 | 3005 | [5 empty] | Ductless Heat Pump | Electricity
284130 | 1585.7996 | 2.85 | 28 | 21 | 241.79 | 4.5 | 5 | 4 | 1 | 0.4 | 22.6936 | 2006 | 1780 | West | 2556 | 1917 | Attic (unconditioned) | 0 | 0 | 92.11 | 92.11 | Central Heat Pump (shared ducts) | Electricity | Yes
284156 | 1435.4676 | 8.27 | 290 | 2 | 888.01 | 9.3 | 6 | 5 | 31 | 83.8 | 82.3894 | 1996 | 3000 | West | 3561 | 2794 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Propane | No
284251 | 3868.6847 | 4.21 | 0 | 155 | 486.68 | 7.2 | 8 | 8 | 0 | 0 | 0 | 2007 | 1923 | South West | 1752 | 1314 | Crawlspace (unconditioned) | 0 | 0 | 81.15 | 81.15 | Central Heat Pump (shared ducts) | Electricity
284352 | -45.1757 | 9.39 | 120 | -11 | 74.76 | 5.6 | 10 | 8 | 2 | 0.6 | 96.7194 | 1980 | 2220 | South | 1700 | 1275 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 93.83 | 93.83 | Furnace / Central AC (shared ducts) | Natural Gas | No
273052 | 272.5171 | 32.46 | 391 | 35 | 425.56 | 41.7 | 4 | 4 | 0 | 0 | 315.2987 | 1951 | 1189 | North East | 5290 | 3967.5 | Attic (unconditioned) | 0 | 0 | 83.19 | 88.43 | Room AC | Natural Gas | Yes
284691 | 775.8052 | 5.19 | 0 | 191 | 97.6 | 3.7 | 12 | 12 | 4 | 0.8 | 0 | 1998 | 1312 | East | 1498 | 1437 | Basement (unconditioned) | 506 | 324 | 85 | 85 | Central Heat Pump (shared ducts) | Electricity
284626 | 1145.7665 | 5.44 | 0 | 228 | 144.14 | 5.2 | 9 | 9 | 2 | 0.5 | 0 | 1995 | 1512 | South | 3054 | 2290.5 | Crawlspace (unconditioned) | 0 | 0 | 75.33 | 85.09 | Room AC | Electricity
284810 | 390.1603 | 1.36 | 1 | 46 | 134.25 | 4.3 | 2 | 4 | 11 | 0 | 1.0282 | 1996 | 1020 | West | 2290 | 1717.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
283260 | 9715.7107 | 5.17 | -73 | 267 | 1619.41 | 12.7 | 3 | 4 | -2 | 0.1 | -20.7416 | 1850 | 4868 | West | 5335 | 4001.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Propane | Yes
284680 | 1251.1658 | 2.7 | 0 | 99 | 157.4 | 4.2 | 5 | 6 | 9 | 2 | 0 | 1936 | 3018 | South West | 3308 | 2481 | Crawlspace (unconditioned) | 0 | 0 | 89.1 | 77.69 | Ductless Heat Pump | Electricity
275488 | 544.1668 | 1.16 | 0 | 43 | 68.46 | 3.1 | 3 | 4 | 2 | 0.6 | 0 | 2015 | 1120 | West | 2060 | 1545 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
285456 | 1573.6558 | 0.33 | 0 | 13 | 197.97 | 4.6 | 1 | 1 | 16 | 4.5 | 0 | 2024 | 2112 | North East | 1335 | 1001.25 | Intentionally Conditioned Space | 147 | 73.5 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
285531 | 8702.4114 | 9.66 | 0 | 357 | 1094.76 | 10.8 | 12 | 12 | 2 | 0.5 | 0 | 1995 | 1785 | South West | 1765 | 1323.75 | 50/50 Attic - Basement (both unconditioned) | 0 | 0 | 73.66 | 83.15 | Central Heat Pump (shared ducts) | Electricity
285694 | 212.5937 | 5.53 | 67 | 5 | 93.78 | 4.5 | 8 | 6 | 0 | 0 | 54.0249 | 1979 | 1056 | South West | 1198 | 898.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
268238 | -3648.3654 | 48.11 | 0 | -459 | -458.96 | 4.8 | 49 | 49 | -100 | 0 | 605.5777 | 1974 | 1485 | South West | 2020 | 1515 | [5 empty] | Stove or Insert | Wood
286021 | 860.9008 | 18.12 | 202 | 69 | 599.03 | 3.9 | 27 | 23 | 11 | 2.8 | 162.4568 | 1960 | 1075 | North | 2679 | 2009.25 | Basement (unconditioned) | 0 | 0 | 85 | 87.98 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
286056 | -85.3156 | 5.2 | 68 | -10 | 57.39 | 5.3 | 8 | 4 | 1 | 0.4 | 54.8919 | 1946 | 900 |  | 2112 | 1584 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
286059 | -84.7786 | 0.53 | 11 | -15 | 7.19 | 5.4 | 1 | 0 | -6 | 0 | 9.3987 | 1987 | 1404 | South East | 1869 | 1401.75 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
286128 | 6133.4041 | 11.79 | 0 | 435 | 771.58 | 3.5 | 24 | 24 | 4 | 0.9 | 0 | 2001 | 1120 | South | 871 | 653.25 | Crawlspace (unconditioned) | 0 | 0 | 86.69 | 94.09 | Central Heat Pump (shared ducts) | Electricity
286116 | 1830.9269 | 2.94 | 0 | 109 | 230.33 | 5.1 | 8 | 8 | 2 | 0.6 | 0 | 1993 | 1200 | East | 1246 | 934.5 | Crawlspace (unconditioned) | 0 | 0 | 82.55 | 87.36 | Central Heat Pump (shared ducts) | Electricity
284280 | 396.828 | 4.53 | 0 | 168 | 49.92 | 5.1 | 8 | 8 | 6 | 1.2 | 0 | 1981 | 2411 | South East | 2959.09 | 2219.32 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
286300 | 2139.5374 | 1.01 | 0 | 37 | 306.8 | 5.8 | 2 | 3 | -1 | 0.3 | 0 | 1996 | 1646 | North West | 1892 | 1419 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
286345 | 2071.1054 | 1.78 | 0 | 66 | 260.54 | 3.1 | 5 | 5 | 3 | 0.6 | 0 | 2010 | 1176 | West | 816 | 612 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
285683 | 1148.6173 | 3.92 | 0 | 145 | 144.5 | 0.58986 | 9 | 9 | 9
284612 | 445.6287 | 3.73 | 0 | 137 | 56.06 | 4.2 | 8 | 8 | 6 | 1.2 | 0 | 1978 | 1248 | North West | 1983 | 1487.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
284849 | 15.0677 | 0.76 | 18 | 9 | 168.49 | 3.5 | 2 | 2 | 0 | 0 | 5.2113 | 2019 | 2032 | North East | 1898 | 1423.5 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 93.71 | 93.71 | Furnace / Central AC (shared ducts) | Propane | Yes
286415 | 456.7649 | 41.07 | 486 | 71 | 425.19 | 9.2 | 28 | 21 | 10 | 2.7 | 391.225 | 1948 | 1710 | South West | 5259 | 1 | 50/50 Attic - Basement (both unconditioned) | 0 | 0 | 74.93 | 85.62 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
286597 | 1377.4633 | 4.83 | 0 | 178 | 173.29 | 4 | 10 | 10 | 3 | 0.7 | 0 | 1963 | 1144 | North East | 2280 | 1710 | Crawlspace (unconditioned) | 0 | 0 | 70.1 | 100 | Central Heat Pump (shared ducts) | Electricity
286609 | 5229.9361 | 18.49 | 0 | 682 | 657.93 | 5.2 | 35 | 35 | 27 | 46.2 | 0 | 1975 | 1056 | East | 2800 | 2100 | [5 empty] | Electric Resistance | Electricity
286787 | 5594.2581 | 12.66 | 0 | 529 | 798.3 | 6.3 | 16 | 16 | 13 | 4.5 | 0 | 2001 | 1120 | West | 1702 | 1276.5 | Crawlspace (unconditioned) | 0 | 0 | 85 | 87 | Central Heat Pump (shared ducts) | Electricity
286864 | -778.4639 | -2.66 | 0 | -111 | -111.09 | -0.2527 | -8 | -8 | -100
287030 | 755.7542 | 10.39 | 124 | 15 | 353.15 | 11 | 7 | 5 | 5 | 1.1 | 100.0512 | 1896 | 1800 |  | 5327 | 3995.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
287119 | 76.6249 | 2.1 | 23 | 10 | 33.63 | 3.7 | 4 | 4 | 2 | 0.6 | 18.685 | 2019 | 2116 | South East | 1226 | 1226 | Attic (unconditioned) | 0 | 0 | 90.05 | 90.05 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
287390 | 860.2566 | 6.57 | 49 | 110 | 204.93 | 3.2 | 11 | 12 | 2 | 0.6 | 39.5396 | 1981 | 1384 | North West | 2121 | 1590.75 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
287194 | 4214.9127 | 26.77 | 346 | -46 | 1003.92 | 3.7 | 51 | 26 | -2 | 0.2 | 278.6794 | 1920 | 2098 | North West | 3047 | 2285.25 | Crawlspace (unconditioned) | 0 | 0 | 86 | 100 | Ductless Heat Pump | Electricity | No
287627 | 13326.0771 | 29.21 | 0 | 1221 | 1901.63 | 14.8 | 22 | 23 | 12 | 3.4 | 0 | 1971 | 4544 | South East | 4332 | 3249 | Basement (unconditioned) | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
278908 | 1154.1539 | 3.94 | 0 | 145 | 145.19 | 3.4 | 9 | 10 | 12 | 3.9 | 0 | 1970 | 1318 | South East | 2255 | 1098 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
287747 | 215.8533 | 0.66 | 0 | 28 | 30.8 | 4.4 | 2 | 2 | 0 | 0 | 0 | 2015 | 1410 | South West | 1770 | 1327.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
284275 | 267.156 | 12.54 | 162 | -24 | 103.86 | 3.2 | 29 | 16 | -4 | 0.2 | 131.0797 | 1956 | 1298 | South East | 2879 | 2159.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace with standalone ducts | Natural Gas | Yes
288188 | 5332.3643 | 1.92 | 0 | 80 | 760.93 | 4.8 | 4 | 4 | 0 | 0 | 0 | 2012 | 1280 | South | 576 | 432 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
288212 | -1580.4845 | -5.39 | 0 | -225 | -225.54 | -0.81164 | -11 | -11 | -100
288395 | 1675.1802 | 3.04 | 0 | 127 | 239.05 | 3.9 | 7 | 7 | 0 | 0 | 0 | 2019 | 2074 | West | 638 | 478.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
288760 | 6620.969 | 8.72 | 0 | 364 | 944.81 | 7 | 14 | 16 | 11 | 2.9 | 0 | 1984 | 2086 | West | 2700 | 2025 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
288873 | 20.89 | 9.45 | 117 | 2 | 258.81 | 4.7 | 11 | 10 | 9 | 2.3 | 94.014 | 1963 | 2430 | North East | 2168 | 1626 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Room AC | Natural Gas | No
289597 | 4950.7351 | 13.19 | 0 | 551 | 706.47 | 5.4 | 25 | 27 | 4 | 0.8 | 0 | 1989 | 1969 | East | 1710 | 1282.5 | Attic (unconditioned) | 0 | 0 | 86.19 | 86.19 | Central Heat Pump (shared ducts) | Electricity
289623 | 7853.4546 | 15.62 | 0 | 653 | 1142.3 | 11.5 | 16 | 17 | 9 | 2.2 | 0 | 1983 | 3042 | South East | 4886 | 3664.5 | 50/50 Attic - Crawlspace (both unconditioned) | 0 | 0 | 65 | 91.55 | Ductless Heat Pump | Electricity
269482 | 515.8709 | 1.76 | 0 | 65 | 64.9 | 5.8 | 3 | 3 | 6 | 1.1 | 0 | 1979 | 2766 | North West | 2662 | 1996.5 | Basement (unconditioned) | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
289903 | 3897.3698 | 13.3 | 0 | 556 | 556.15 | 3 | 29 | 29 | 8 | 1.9 | 0 | 2000 | 672 | South West | 2000 | 1500 |  |  | 0 |  | 84.34 | Electric Resistance | Electricity
252968 | 11090.6719 | 28.18 | 0 | 1039 | 1395.21 | 7 | 38 | 38 | 0 | 0 | 0 | 1949 | 1300 | East | 2475 | 1856.25 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 88.19 | 88.19 | Central Heat Pump (shared ducts) | Electricity
289984 | 3337.8359 | 8.99 | 1 | 372 | 479.09 | 4.7 | 15 | 15 | 6 | 1.2 | 0.73838 | 2000 | 1404 | South | 1794 | 1435 | Basement (unconditioned) | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
270243 | 349.069 | 32.99 | 390 | 57 | 525.37 | 148.8 | 1 | 1 | 9 | 2.3 | 314.3357 | 1956 | 2491 | South East | 4445 | 2951 | Attic (unconditioned) | 0 | 0 | 82.18 | 86.74 | Central AC with standalone ducts | Natural Gas | No
273498 | 151.2173 | 12.06 | 143 | 19 | 161.85 | 12.1 | 8 | 5 | 7 | 1.4 | 115.403 | 1950 | 3216 | North | 5183 | 3887.25 | Attic (unconditioned) | 0 | 0 | 75.08 | 75.08 | Room AC | Natural Gas
268002 | 844.2226 | 3.35 | 16 | 75 | 123.99 | 6.8 | 5 | 5 | 0 | 0 | 12.9569 | 1990 | 3837 | North East | 3662 | 3058 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace with standalone ducts | Natural Gas | Yes
264323 | 552.3581 | 34.65 | 412 | 54 | 473.73 | 5.1 | 35 | 28 | 0 | 0 | 331.7845 | 1952 | 672 | South West | 3514 | 1167 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 80.1 | 80.1 | Furnace with standalone ducts | Natural Gas | No
268870 | 670.4651 | 8.66 | 79 | 84 | 163.43 | 6.4 | 10 | 10 | 0 | 0 | 63.725 | 1956 | 2300 | South East | 3806 | 3092 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 85.94 | 85.94 | Furnace with standalone ducts | Natural Gas
268377 | -2547.9706 | 31.32 | 1407 | -321 | 1086.96 | 6.1 | 44 | 16 | 10 | 2.3 | 400.2129 | 1978 | 1200 | North West | 2059 | 1388 |  |  | 0 |  | 90.19 | Central Heat Pump (shared ducts) | Propane
290683 | 4551.3933 | 0.82 | 2 | 27 | 668.29 | 4.1 | 2 | 2 | 0 | 0.4 | 1.7521 | 1988 | 1383 | North | 1970 | 1477.5 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 88.19 | 92.57 | Central Heat Pump (shared ducts) | Electricity | No
290615 | 2068.1847 | 6.88 | 0 | 287 | 295.13 | 6.3 | 14 | 14 | 1 | 0.5 | 0 | 1981 | 1176 | North East | 1083 | 812.25 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 82.79 | 86.7 | Central Heat Pump (shared ducts) | Electricity
290742 | 3771.5196 | 1.3 | 0 | 55 | 538.2 | 6 | 3 | 3 | 8 | 1.7 | 0 | 1980 | 2208 | West | 1843 | 1382.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
290260 | 523.9817 | 14.05 | 146 | 95 | 215.93 | 10.7 | 10 | 8 | 17 | 9.2 | 117.5733 | 1900 | 1376 | South East | 3960 | 2970 | 50/50 Attic - Crawlspace (both unconditioned) | 0 | 0 | 82.73 | 90.07 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
290941 | 3948.9654 | 0.48 | 0 | 21 | 563.52 | 6 | 1 | 1 | -3 | 0.2 | 0 | 2006 | 2100 | South West | 1550 | 1162.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
291049 | 5500.3664 | 18.78 | 0 | 785 | 784.9 | 5.4 | 25 | 25 | 6 | 1.1 | 0 | 1999 | 1352 | West | 2000 | 1500 | Crawlspace (unconditioned) | 0 | 0 | 75 | 100 | Central Heat Pump (shared ducts) | Electricity
290848 | 1061.5093 | 8.48 | 68 | 126 | 299.45 | 7.1 | 8 | 8 | 0 | 0 | 54.6993 | 1998 | 1332 | East | 1373 | 1029.75 | 50/50 Attic - Basement (both unconditioned) | 0 | 0 | 84.63 | 77.51 | Furnace / Central AC (shared ducts) | Natural Gas | No
291248 | 799.0978 | 2.94 | 0 | 123 | 114.03 | 3.6 | 7 | 7 | 2 | 0.6 | 0 | 1986 | 1728 | North West | 1864 | 1398 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
291567 | 395.8728 | 1.95 | 0 | 81 | 56.49 | 7.2 | 4 | 4 | 2 | 0.5 | 0 | 1984 | 1758 | South | 2330 | 1747.5 | Basement (unconditioned) | 0 | 0 | 93.22 | 86.84 | Central Heat Pump (shared ducts) | Electricity
291809 | 1992.5005 | 2.16 | 0 | 90 | 284.33 | 5.1 | 4 | 4 | 2 | 0.6 | 0 | 1949 | 2233 | West | 3631 | 2723.25 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 92.1 | 92.1 | Central Heat Pump (shared ducts) | Electricity
291332 | 1303.6948 | 2.22 | 0 | 92 | 186.04 | 4.5 | 5 | 5 | 3 | 0.6 | 0 | 1940 | 996 | South East | 2675 | 2455 | Crawlspace (unconditioned) | 0 | 0 | 78.68 | 84.63 | Central Heat Pump (shared ducts) | Electricity
291945 | 6842.13 | 0 | 0 | 0 | 976.37 | 6.5 | 0 | 0 | 0 | 0 | 0 | 1966 | 1176 | South West | 2030 | 1522.5 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 88.18 | 92.58 | Furnace with standalone ducts | Electricity
291813 | 502.5781 | 1.25 | 0 | 52 | 71.72 | 7 | 3 | 3 | -2 | 0.2 | 0 | 1988 | 829 | North | 1516 | 1215 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
251869 | 0 | 3.44 | 39 | 10 | 0 | 2.9 | 7 | 6 | 0 | 0 | 31.6906 | 1967 | 780 | South | 2087 | 1990 | Attic (unconditioned) | 0 | 0 | 83.27 | 88.51 | Furnace / Central AC (shared ducts) | Natural Gas | No
292266 | 2638.6653 | 0.39 | 0 | 16 | 376.54 | 5.1 | 1 | 1 | 1 | 0.4 | 0 | 2012 | 1282 | South East | 951 | 713.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
292525 | 808.1417 | 5.08 | 17 | 157 | 151.83 | 3.9 | 11 | 14 | 0 | 0 | 13.1986 | 1934 | 936 | South West | 2110 | 1582.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity | Yes
287695 | -77.935 | -0.43 | -2 | -11 | -13.19 | 5.6 | -1 | -1 | -100 | 0 | -1.6671 | 1993 | 1296 | North West | 1128 | 846 | Basement (unconditioned) | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
292076 | -88.1974 | 2.74 | 0 | 115 | -12.59 | 2.4 | 15 | 15 | -6 | 0.1 | 0 | 1925 | 922 | North | 1485 | 1113.75 | [5 empty] | Ductless Heat Pump | Electricity
292515 | 369.5488 | 1.27 | 0 | 53 | 52.73 | 2.8 | 6 | 6 | -11 | 0.1 | 0 | 2016 | 957 | North West | 1185 | 888.75 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
292848 | 1025.5427 | 3.66 | 0 | 153 | 146.34 | 2.6 | 12 | 12 | 4 | 0.9 | 0 | 1992 | 932 | North East | 1597 | 1527 | Attic (unconditioned) | 0 | 0 | 78.92 | 84.26 | Central Heat Pump (shared ducts) | Electricity
292965 | 652.2017 | 5.36 | 0 | 88 | 231.63 | 7.6 | 7 | 8 | 0 | 0 | 32.5879 | 1900 | 1016 | South East | 5398 | 4048.5 | [5 empty] | Stove or Insert | Wood
258783 | 2417.4246 | 8.25 | 0 | 345 | 344.97 | 4 | 16 | 17 | 1 | 0.4 | 0 | 1992 | 1210 | South East | 1872 | 1404 | 50/50 Attic - Basement (both unconditioned) | 0 | 0 | 72.5 | 67.5 | Central Heat Pump (shared ducts) | Electricity
250525 | 336.6302 | 1.3 | 0 | 54 | 48.04 | 3.2 | 4 | 4 | -7 | 0.1 | 0 | 1968 | 2079 | North | 2576 | 1932 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
293022 | -2129.8471 | 58.66 | 865 | -463 | 513.57 | 5 | 64 | 29 | 0 | 0.3 | 697.3946 | 1946 | 1583 | North East | 3331 | 2498.25 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 89.8 | 100 | Central Heat Pump (shared ducts) | Natural Gas | No
293263 | 1058.3942 | 6.31 | 86 | 165 | 149.7 | 4.4 | 11 | 11 | 8 | 1.9 | 23.5263 | 2010 | 1675 | East | 1501 | 1624 | 50/50 Attic - Crawlspace (both unconditioned) | 0 | 0 | 82.03 | 88.78 | Direct Heater | Propane
290129 | 28.2819 | -0.4 | -7 | 4 | -2.11 | -0.017094 | 0 | 0 | -4
279102 | -36.0921 | 2.79 | 34 | 3 | 11.7 | 6.3 | 3 | 2 | 0 | 0.3 | 27.1613 | 1920 | 1283 | South West | 3632 | 2724 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace with standalone ducts | Natural Gas | Yes
293607 | 56.4445 | 3.32 | 115 | 6 | 155.51 | 4.1 | 6 | 5 | 4 | 0.8 | 31.6328 | 2020 | 1694 | North East | 1436 | 1223 | Attic (unconditioned) | 0 | 0 | 88.04 | 88.04 | Furnace / Central AC (shared ducts) | Propane | Yes
289507 | 612.835 | 1.35 | 0 | 57 | 87.45 | 3.5 | 4 | 4 | 0 | 0.4 | 0 | 1975 | 1385 | South East | 1880 | 1410 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
294203 | 935.9091 | 45.19 | 1877 | -700 | 850.42 | 5.5 | 44 | 35 | 0 | 0 | 619.284 | 1961 | 1152 | South East | 4240 | 3180 | Crawlspace (unconditioned) | 0 | 0 | 82.33 | 100 | Boiler | Fuel Oil
294594 | 537.4918 | 1.83 | 0 | 76 | 76.7 | 0.27602 | 7 | 7 | 2
294407 | 200.4339 | -0.01 | 0 | -1 | 28.6 | 3.3 | 0 | 0 | -100 | 0 | 0 | 2017 | 1152 | North | 831 | 623.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Direct Heater | Electricity
294509 | 8681.4038 | 23.44 | 0 | 980 | 1238.84 | 4.3 | 34 | 34 | 4 | 0.9 | 0 | 1995 | 2548 | East | 4111 | 3083.25 | Crawlspace (unconditioned) | 0 | 0 | 76.07 | 100 | Central Heat Pump (shared ducts) | Electricity
266156 | 118.229 | 17.93 | 218 | 17 | 234.45 | 0.9903 | 15 | 12 | 6
294767 | 2894.2025 | 27.42 | 0 | 1146 | 413 | 4.4 | 37 | 37 | 4 | 0.9 | 0 | 1978 | 1789 | West | 4066 | 3049.5 | [5 empty] | Room AC | Electricity
295074 | 250.9218 | 19.53 | 303 | -205 | 333.94 | 4.4 | 29 | 16 | -6 | 0.2 | 244.295 | 2010 | 2104 | South East | 1301 | 975.75 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Natural Gas | No
295113 | 267.0258 | 0.91 | 0 | 38 | 38.1 | 2.9 | 3 | 3 | 0 | 0 | 0 | 2017 | 1152 | North | 580 | 435 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
295273 | -7460.5505 | 6.17 | 175 | 17 | 677.2 | 8.1 | 6 | 5 | 8 | 1.7 | 57.67 | 1976 | 3178 | South | 3895 | 2921.25 | Basement (unconditioned) | 0 | 0 | 97.85 | 100 | Central AC with standalone ducts | Fuel Oil
259816 | 2766.0281 | 53.44 | 546 | 348 | 894.07 | 6.9 | 37 | 35 | 4 | 0.8 | 440.0539 | 1940 | 2602 | South West | 5090 | 3817.5 | [5 empty] | Boiler | Natural Gas | No
259806 | 827.1944 | 2.83 | 0 | 104 | 104.06 | 2 | 12 | 12 | -6 | 0.1 | 0 | 1983 | 960 | North | 1590 | 1192.5 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 92.99 | 92.99 | Central Heat Pump (shared ducts) | Electricity
254783 | 335.7323 | 9.27 | 101 | 42 | 143.15 | 7.9 | 7 | 6 | 4 | 0.9 | 81.3259 | 2002 | 2202 | South West | 2627 | 1970.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
259808 | 670.5611 | 4.47 | 76 | 85 | 160.92 | 6.8 | 5 | 7 | 3 | 0.7 | 21.7689 | 1998 | 2197 | North | 1970 | 1477.5 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 94.03 | 94.03 | Furnace / Central AC (shared ducts) | Propane | Yes
263999 | 0 | 0 | 0 | 0 | 0 | 6.3 | 0 | 0 | 0 | 0 | 0 | 1988 | 1962 | South East | 4407 | 3305.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
259815 | 1614.9928 | 5.51 | 0 | 203 | 203.17 | 1.8 | 23 | 23 | -4 | 0.2 | 0 | 1999 | 2356 | North East | 2033 | 1524.75 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
259965 | 5.861 | 6.8 | 238 | 1 | 239.24 | 5.4 | 9 | 7 | 6 | 1.2 | 67.815 | 1957 | 672 | North East | 2424 | 1818 | [5 empty] | Room AC | Propane
267293 | 537.642 | 6.14 | 54 | 68 | 121.05 | 6.7 | 8 | 7 | 3 | 0.7 | 43.0352 | 1950 | 948 | North East | 2863 | 2854 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 89.07 | 93.08 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
253886 | 86.8288 | 23.4 | 492 | 11 | 502.7 | 7.4 | 22 | 19 | 8 | 1.8 | 231.0738 | 1945 | 644 | South East | 800 | 600 | [5 empty] | Boiler | Fuel Oil
253183 | 170.3558 | 10.47 | 123 | 21 | 144.09 | 9.7 | 8 | 6 | 2 | 0.6 | 98.8454 | 1957 | 2056 | South West | 2480 | 1860 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 86.19 | 89.98 | Room AC | Natural Gas | No
257628 | 420.8697 | 1.43 | 0 | 53 | 52.95 | 4.5 | 5 | 5 | -2 | 0.2 | 0 | 1996 | 1560 | South West | 4503 | 3377.25 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 94.44 | 92.94 | Ductless Heat Pump | Electricity
263997 | 1220.294 | 18.51 | 178 | 154 | 331.57 | 10.6 | 10 | 12 | 7 | 1.5 | 143.4834 | 1975 | 2048 | North East | 2750 | 2062.5 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 80.75 | 84.13 | Furnace / Central AC (shared ducts) | Natural Gas | No
260570 | 189.631 | 5.46 | 60 | 24 | 83.66 | 3.5 | 9 | 8 | 2 | 0.6 | 48.1879 | 1983 | 1408 | South East | 2422 | 1816.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
260442 | 1084.2118 | 3.7 | 0 | 136 | 136.39 | 5 | 10 | 10 | 5 | 1 | 0 | 1977 | 1360 | North East | 1390 | 1042.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
262071 | 11570.7593 | 39.49 | 0 | 1456 | 1455.6 | 9.9 | 38 | 38 | 26 | 14.6 | 0 | 1975 | 1883 | South East | 2703 | 2027.25 | 50/50 Attic - Basement (both unconditioned) | 0 | 0 | 83.46 | 86.63 | Central AC with standalone ducts | Electricity
262837 | 1955.4893 | 31.77 | 311 | 246 | 557.44 | 29.4 | 6 | 6 | 5 | 1 | 250.9659 | 1956 | 1244 | North West | 3190 | 2392.5 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 85.32 | 89.05 | Furnace / Central AC (shared ducts) | Natural Gas | No
256084 | 601.7956 | 2.06 | 0 | 76 | 75.71 | 3.2 | 6 | 6 | -5 | 0.1 | 0 | 1966 | 1050 | North West | 1331 | 998.25 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 100 | 100 | Electric Resistance | Electricity
252113 | 114.926 | 12.69 | 152 | 14 | 167.06 | 4.4 | 18 | 14 | -1 | 0.3 | 122.9686 | 1947 | 1908 | North West | 2089 | 1566.75 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 87.59 | 91.5 | Furnace / Central AC (shared ducts) | Natural Gas | No
252364 | 1082.9327 | 54.28 | 628 | 136 | 763.89 | 36.2 | 8 | 8 | 7 | 1.4 | 505.783 | 1963 | 1008 | East | 1694 | 1355 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 89.95 | 94.31 | Furnace / Central AC (shared ducts) | Natural Gas
295722 | 330.7554 | 2.95 | 26 | 114 | 163.71 | 3.8 | 6 | 6 | 12 | 3.8 | 21.3893 | 1950 | 952 | South West | 2136 | 1602 | [5 empty] | Room AC | Natural Gas
295616 | 42.1526 | 13.95 | 171 | 8 | 283.41 | 8.7 | 10 | 8 | 2 | 0.6 | 137.5594 | 1953 | 1820 | South East | 3597 | 3215 | Basement (unconditioned) | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
295427 | 798.2043 | 0.7 | 0 | 30 | 116.71 | 5.1 | 1 | 2 | -3 | 0.2 | 0 | 2018 | 2369 | South East | 534 | 400.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
266667 | 5233.8501 | 17.86 | 0 | 659 | 658.42 | 4.4 | 28 | 28 | 8 | 1.8 | 0 | 1979 | 2080 | North West | 2662 | 1996.5 | 50/50 Attic - Basement (both unconditioned) | 0 | 0 | 88.56 | 92.99 | Central Heat Pump (shared ducts) | Electricity
259926 | 3806.5767 | 12.99 | 0 | 479 | 478.87 | 2 | 50 | 50 | -1 | 0.3 | 0 | 1993 | 1288 | South | 1686 | 1264.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
250068 | 0 | 0 | 0 | 0 | 0 | 6.8 | 0 | 0 | -100 | 0 | 0 | 2000 | 1894 | South | 1922 | 1441.5 | Attic (unconditioned) | 0 | 0 | 82.1 | 82.1 | Central Heat Pump (shared ducts) | Electricity
270248 | 1114.2906 | 3.81 | 0 | 140 | 140.18 | 5.9 | 6 | 6 | 5 | 0.9 | 0 | 1972 | 1586 | South East | 3326 | 2494.5 | Crawlspace (unconditioned) | 0 | 0 | 89.4 | 100 | Central Heat Pump (shared ducts) | Electricity
274204 | 657.8491 | 2.24 | 0 | 83 | 82.76 | 3.7 | 8 | 8 | 39 | 0 | 0 | 2003 | 576 | North West | 730 | 547.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
273870 | 732.5972 | 2.5 | 0 | 92 | 92.16 | 5.4 | 6 | 7 | 41 | 0 | 0 | 1998 | 1200 | North East | 1360 | 1020 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
273902 | 690.4503 | 2.36 | 0 | 87 | 86.86 | 3.6 | 9 | 9 | 40 | 0 | 0 | 2003 | 576 | South East | 730 | 547.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
267302 | 591.7259 | 21.63 | 244 | 75 | 317.78 | 8.5 | 15 | 14 | 7 | 1.4 | 196.0917 | 1962 | 2076 | South East | 4080 | 2659 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
267544 | 965.8325 | 3.3 | 0 | 121 | 121.5 | 6.1 | 6 | 8 | 5 | 1 | 0 | 1948 | 1076 | North East | 2984 | 2238 | Crawlspace (unconditioned) | 0 | 0 | 76.99 | 86.45 | Central Heat Pump (shared ducts) | Electricity
263464 | 494.4581 | 9.59 | 98 | 62 | 160.32 | 39.7 | 1 | 1 | 4 | 0.9 | 79.0695 | 1972 | 1428 | North | 1992 | 1494 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 80.99 | 91.09 | Furnace / Central AC (shared ducts) | Natural Gas | No
271721 | 625.0593 | 2.14 | 0 | 78 | 78.63 | 7 | 4 | 4 | -1 | 0.3 | 0 | 1997 | 2336 | East | 2135 | 1601.25 | 50/50 Crawlspace (unconditioned) - Conditioned Space | 0 | 0 | 90.39 | 100 | Central Heat Pump (shared ducts) | Electricity
263112 | 1840.5186 | 6.28 | 0 | 232 | 231.54 | 7.7 | 11 | 11 | 6 | 1.1 | 0 | 1953 | 1059 | North | 2817 | 2112.75 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 86.73 | 91.02 | Central Heat Pump (shared ducts) | Electricity
254522 | 5486.1926 | 18.72 | 0 | 690 | 690.16 | 9 | 22 | 24 | 1 | 0.4 | 0 | 1998 | 3648 | South East | 4583 | 3437.25 | Basement (unconditioned) | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
276086 | 0 | 0 | 0 | 0 | 0 | 4.8 | 0 | 0 | 0 | 0 | 0 | 1985 | 1584 | West | 2703 | 2027.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
258569 | 763.7491 | 10.91 | 103 | 96 | 199.13 | 7.3 | 11 | 9 | 1 | 0.5 | 83.0432 | 1995 | 1267 | South East | 1277 | 957.75 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
259782 | 1616.9203 | 15.26 | 121 | 204 | 324.25 | 3.8 | 23 | 22 | 7 | 1.4 | 97.3741 | 1991 | 2190 | South East | 2456 | 1842 | Intentionally Conditioned Space | 0 | 0 | 99.71 | 99.71 | Central AC with standalone ducts | Natural Gas | Yes
256593 | 44.1615 | 4.42 | 53 | 6 | 58.56 | 16.1 | 2 | 2 | -1 | 0.3 | 42.7075 | 1989 | 1629 | North | 2563 | 1922.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
269619 | 755.1164 | 2.57 | 0 | 95 | 94.99 | 7.3 | 5 | 5 | 2 | 0.5 | 0 | 1979 | 1200 | South West | 1636 | 1392 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 93.03 | 93.03 | Central Heat Pump (shared ducts) | Electricity
265530 | 1270.3825 | 7.42 | 38 | 159 | 198.06 | 4.3 | 12 | 12 | 2 | 0.6 | 30.8246 | 1990 | 1754 | South | 1984 | 1488 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
258534 | 491.3081 | 11.38 | 120 | 62 | 182.22 | 7.9 | 10 | 9 | 7 | 1.5 | 97.0277 | 1952 | 1285 | East | 3269 | 2451.75 | [5 empty] | Room AC | Natural Gas | No
269353 | 764.9091 | 2.61 | 0 | 96 | 96.23 | 6.6 | 4 | 4 | 3 | 0.6 | 0 | 2003 | 2541 | North | 2638 | 1978.5 | Attic (unconditioned) | 0 | 0 | 89.7 | 89.7 | Central Heat Pump (shared ducts) | Electricity
262280 | 1303.5646 | 7.25 | 35 | 164 | 198.83 | 2.8 | 17 | 17 | 3 | 0.7 | 28.0753 | 1990 | 1787 | South East | 2002 | 1501.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
268240 | 1182.6301 | 4.04 | 0 | 148 | 148.77 | 7.3 | 8 | 8 | 3 | 0.7 | 0 | 1994 | 1280 | North East | 1483 | 1112.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
267614 | 4697.422 | 29.44 | 167 | 590 | 757.38 | 10.5 | 19 | 23 | 3 | 0.6 | 134.1201 | 1949 | 3938 | North East | 5737 | 4302.75 | Attic (unconditioned) | 0 | 0 | 88.62 | 88.62 | Central AC with standalone ducts | Natural Gas | No
257918 | -5661.4125 | 65.92 | 1814 | -712 | 1101.84 | 4.5 | 58 | 50 | 14 | 5.2 | 852.3736 | 1800 | 1488 | West | 4719 | 3539.25 | Crawlspace (unconditioned) | 0 |  | 78.6 |  | Furnace with standalone ducts | Fuel Oil
262066 | 960.8988 | 8.82 | 68 | 121 | 189.69 | 6.6 | 11 | 11 | 6 | 1.1 | 55.4493 | 1900 | 1143 | North West | 4743 | 3557.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Natural Gas | No
256766 | 863.0719 | 2.95 | 0 | 108 | 108.57 | 7.2 | 3 | 4 | 2 | 0.6 | 0 | 1974 | 2425 | South West | 3525 | 2643.75 | Attic (unconditioned) | 0 | 0 | 89.46 | 89.46 | Central Heat Pump (shared ducts) | Electricity
267984 | 98.6008 | 0.34 | 0 | 12 | 12.4 | 3.2 | 1 | 1 | -3 | 0.2 | 0 | 1999 | 1373 | North West | 1990 | 1492.5 | Attic (unconditioned) | 0 | 0 | 88.55 | 88.55 | Central Heat Pump (shared ducts) | Electricity
254899 | 3052.4211 | 10.41 | 0 | 384 | 383.99 | 7.4 | 18 | 18 | 1 | 0.4 | 0 | 1978 | 1200 | South East | 1557 | 1167.75 | [5 empty] | Ductless Heat Pump | Electricity
257421 | 351.4556 | 32.17 | 384 | 44 | 428.46 | 4 | 34 | 31 | 27 | 42.2 | 309.6349 | 1961 | 1333 | South West | 2410 | 1807.5 | Crawlspace (unconditioned) | 0 | 0 | 78.99 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
267332 | 4694.3242 | 16.02 | 0 | 591 | 590.55 | 9.7 | 20 | 20 | 5 | 0.9 | 0 | 1912 | 2548 | North East | 4874 | 3655.5 | Attic (unconditioned) | 0 | 0 | 85.25 | 85.25 | Central Heat Pump (shared ducts) | Electricity
263189 | 729.9142 | 6.45 | 49 | 92 | 141 | 4.4 | 11 | 12 | 2 | 0.5 | 39.6272 | 1947 | 786 | South East | 1851 | 1388.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
253192 | 1716.3062 | 5.86 | 0 | 215 | 215.91 | 6 | 13 | 13 | 1 | 0.6 | 0 | 1971 | 1010 | South West | 2500 | 1875 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
265718 | 55.6081 | 0.19 | 0 | 7 | 7 | 5.4 | 0 | 1 | -7 | 0.1 | 0 | 1945 | 918 | North West | 2360 | 1770 | Crawlspace (unconditioned) | 0 | 0 | 83.61 | 83.61 | Central Heat Pump (shared ducts) | Electricity
263470 | 232.3245 | 0.8 | 0 | 29 | 29.23 | 2.8 | 4 | 4 | 10 | 2.1 | 0 | 1988 | 496 | North East | 1733 | 1299.75 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 94.84 | 93.34 | Central Heat Pump (shared ducts) | Electricity
254411 | -1066.0407 | 36.18 | 1400 | -135 | 1266.39 | 7.9 | 28 | 21 | 7 | 1.6 | 398.2228 | 1974 | 3271 | South East | 3901 | 2925.75 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace with standalone ducts | Propane | Yes
255738 | 1074.4876 | 3.67 | 0 | 136 | 135.17 | 3.9 | 7 | 8 | 4 | 0.8 | 0 | 1942 | 1944 | South East | 1495 | 1121.25 | 50/50 Attic - Basement (both unconditioned) | 0 | 0 | 87.39 | 91.72 | Central Heat Pump (shared ducts) | Electricity
258063 | 55.7935 | 3.46 | 40 | 7 | 47.63 | 11.7 | 3 | 2 | 0 | 0.3 | 32.725 | 1920 | 1413 | South East | 3175 | 2381.25 | [5 empty] | Boiler | Natural Gas | Yes
264103 | 268.2087 | 0.91 | 0 | 34 | 33.74 | 4.5 | 3 | 3 | 0 | 0 | 0 | 1966 | 536 | North East | 1982 | 1486.5 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 84.53 | 88.64 | Central Heat Pump (shared ducts) | Electricity
278888 | 694.7218 | 2.37 | 0 | 88 | 87.4 | 4.6 | 7 | 7 | 6 | 1.3 | 0 | 1991 | 1106 | North East | 1196 | 1076 | Attic (unconditioned) | 0 | 0 | 77.79 | 83.05 | Central Heat Pump (shared ducts) | Electricity
252594 | 160.058 | 5.42 | 61 | 20 | 80.63 | 5.8 | 9 | 6 | 6 | 1.1 | 48.7402 | 1961 | 1850 | West | 1842 | 1381.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
279052 | 1275.2491 | 4.35 | 0 | 161 | 160.43 | 5.6 | 9 | 11 | 0 | 0 | 0 | 2021 | 1558 | South West | 872 | 654 | Crawlspace (unconditioned) | 0 | 0 | 81.01 | 100 | Central Heat Pump (shared ducts) | Electricity
267527 | 1256.0569 | 32.3 | 596 | 158 | 754.26 | 4.7 | 35 | 35 | 8 | 1.7 | 280.1623 | 1950 | 1307 | South East | 4616 | 3462 | Basement (unconditioned) | 0 | 0 | 87.54 | 89.83 | Room AC | Fuel Oil
266668 | 936.1715 | 3.2 | 0 | 118 | 117.77 | 2.4 | 11 | 11 | 1 | 0.4 | 0 | 1998 | 1902 | North | 2786 | 2089.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
279791 | 313.5868 | 26.69 | 545 | 40 | 584.74 | 9.3 | 19 | 18 | 14 | 5 | 256.2161 | 1967 | 2004 | North West | 3040 | 2280 | 50/50 Basement (unconditioned) - Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Fuel Oil
257601 | 0 | 0 | 0 | 0 | 0 | 4.3 | 0 | 0 | 0 | 0 | 0 | 1973 | 1428 | South | 2315 | 1736.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
256368 | 1727.9516 | 5.9 | 0 | 217 | 217.38 | 4.5 | 9 | 11 | 1 | 0.4 | 0 | 1994 | 2661 | South East | 3788 | 2841 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity | No
269539 | 358.9582 | 9.27 | 283 | 45 | 328 | 8.4 | 7 | 7 | 1 | 0.5 | 80.4243 | 2022 | 5449 | West | 2806 | 2104.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Propane | Yes
272334 | 472.5547 | 42.57 | 509 | 59 | 567.7 | 5.4 | 35 | 31 | 4 | 0.8 | 409.5591 | 1925 | 1504 | North West | 5349 | 4011.75 | Crawlspace (unconditioned) | 0 | 0 | 82.82 | 100 | Furnace with standalone ducts | Natural Gas | No
261349 | 1760.6864 | 6.01 | 0 | 221 | 221.49 | 7.6 | 7 | 7 | 7 | 1.5 | 0 | 1962 | 2496 | South East | 3184 | 2388 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 80.16 | 83.83 | Central Heat Pump (shared ducts) | Electricity
276331 | 8869.9812 | 30.27 | 0 | 1116 | 1115.84 | 5.9 | 33 | 33 | 8 | 1.9 | 0 | 1937 | 1887 | West | 4616 | 3462 | Attic (unconditioned) | 0 | 0 | 85.35 | 90.05 | Central Heat Pump (shared ducts) | Electricity
266777 | 1116.8698 | 3.81 | 0 | 140 | 140.5 | 3.9 | 8 | 8 | 5 | 0.9 | 0 | 1990 | 2170 | South West | 1844 | 1383 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
272118 | 1385.7344 | 39.34 | 430 | 174 | 603.8 | 7.4 | 27 | 26 | 7 | 1.3 | 346.0755 | 1946 | 2015 | West | 3350 | 2512.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Natural Gas | No
266502 | 1990.097 | 6.79 | 0 | 251 | 250.35 | 8.7 | 7 | 7 | -1 | 0.3 | 0 | 2002 | 2406 | North | 3432 | 2574 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
270464 | 609.9882 | 2.08 | 0 | 77 | 76.74 | 6.2 | 5 | 5 | -1 | 0.3 | 0 | 2007 | 1956 | North East | 1742 | 1306.5 | Crawlspace (unconditioned) | 0 | 0 | 86.78 | 100 | Central Heat Pump (shared ducts) | Electricity
252925 | 28.511 | 66.99 | 1424 | 4 | 1427.24 | 3.9 | 62 | 56 | 7 | 1.5 | 668.9359 | 1964 | 1252 | North East | 3049 | 2286.75 | Crawlspace (unconditioned) | 0 | 0 | 74.21 | 100 | Furnace / Central AC (shared ducts) | Fuel Oil
256456 | 921.8139 | 5.54 | 30 | 116 | 145.73 | 3.3 | 12 | 11 | 1 | 0.5 | 23.9894 | 1990 | 1577 | South East | 2031 | 1523.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
269232 | 3131.1515 | 10.69 | 0 | 394 | 393.9 | 8 | 16 | 17 | 6 | 1.2 | 0 | 1950 | 1705 | East | 3443 | 2582.25 | Basement (unconditioned) | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
273124 | 717.7351 | 2.45 | 0 | 90 | 90.29 | 4.2 | 5 | 5 | -1 | 0.3 | 0 | 1988 | 2115 | South West | 3939 | 2954.25 | 50/50 Basement (unconditioned) - Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
275463 | -86.2314 | 14.26 | 310 | -10 | 298.89 | 5.8 | 17 | 15 | 44 | 0 | 145.5404 | 1946 | 938 | South East | 2280 | 1710 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 89.08 | 93.1 | Room AC | Fuel Oil
279435 | 247.0921 | 14.44 | 169 | 31 | 199.86 | 4.4 | 16 | 16 | 16 | 7.3 | 136.0079 | 1980 | 1400 |  | 1890 | 1417.5 | [5 empty] | Boiler | Natural Gas | No
259065 | 9021.4441 | 30.79 | 0 | 1135 | 1134.9 | 7.2 | 37 | 39 | 10 | 2.7 | 0 | 1965 | 1635 | North East | 5771 | 4328.25 | Attic (unconditioned) | 0 | 0 | 73.6 | 88.13 | Central Heat Pump (shared ducts) | Electricity
269992 | 4921.5237 | 16.8 | 0 | 619 | 619.13 | 14.6 | 15 | 15 | 13 | 4.2 | 0 | 1962 | 1935 | North West | 5811 | 3691 | Attic (unconditioned) | 0 | 0 | 77.79 | 83.05 | Central Heat Pump (shared ducts) | Electricity
276121 | 3831.543 | 13.08 | 0 | 483 | 482.01 | 5.8 | 25 | 25 | 7 | 1.3 | 0 | 1997 | 1900 | North West | 2563 | 1922.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
257909 | 410.2547 | 9.06 | 95 | 51 | 146.66 | 29.3 | 2 | 2 | 4 | 0.8 | 76.5905 | 1955 | 1192 | East | 2017 | 1512.75 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 87.66 | 91.57 | Furnace / Central AC (shared ducts) | Natural Gas | No
266671 | 305.7494 | 1.04 | 0 | 38 | 38.46 | 7.8 | 2 | 2 | -5 | 0.1 | 0 | 1974 | 1176 | South East | 1885 | 1413.75 | [5 empty] | Electric Resistance | Electricity
253889 | -3310.6316 | 58.78 | 869 | -416 | 453.08 | 6.5 | 55 | 24 | 4 | 0.9 | 700.7043 | 1994 | 1749 | South West | 2077 | 1557.75 | Crawlspace (unconditioned) | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
253503 | -5962.359 | 16.65 | 1302 | -750 | 551.02 | 6.3 | 20 | 5 | 3 | 0.7 | 369.9546 | 2006 | 1476 | West | 1658 | 1243.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Propane | Yes
256592 | 586.1429 | 8.59 | 82 | 73 | 155.57 | 3.5 | 15 | 13 | 2 | 0.6 | 65.9388 | 1990 | 1274 | West | 1178 | 883.5 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 80.98 | 91.15 | Furnace / Central AC (shared ducts) | Natural Gas | No
258945 | 5039.9639 | 17.2 | 0 | 634 | 634.03 | 5 | 34 | 34 | 1 | 0.5 | 0 | 1977 | 1200 | South East | 2249 | 1686.75 |  |  | 0 |  | 100 | Room AC | Electricity
266768 | 582.5513 | 11.26 | 115 | 73 | 188.3 | 6.7 | 13 | 11 | 1 | 0.5 | 92.6883 | 1953 | 1841 | South | 3075 | 2306.25 | 50/50 Basement (unconditioned) - Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
278978 | 570.5048 | 1.95 | 0 | 72 | 71.77 | 4.4 | 4 | 4 | 2 | 0.6 | 0 | 1979 | 2171 | South East | 1499 | 1124.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
265865 | 1761.4308 | 6.01 | 0 | 221 | 221.59 | 3.9 | 13 | 13 | 5 | 0.9 | 0 | 1996 | 2009 | South West | 2864 | 2148 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
263709 | 962.5 | 6.7 | 120 | 121 | 241.31 | 6.7 | 8 | 7 | 4 | 0.8 | 34.1868 | 1987 | 3579 | North East | 3285 | 2463.75 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Propane | Yes
264039 | 3329.1226 | 12.52 | 15 | 419 | 433.2 | 4.1 | 24 | 30 | 4 | 0.8 | 11.6064 | 1964 | 1176 | North East | 2300 | 1725 | 50/50 Crawlspace (unconditioned) - Conditioned Space | 0 | 0 | 90.82 | 91.07 | Central Heat Pump (shared ducts) | Electricity
273621 | 2804.8669 | 9.58 | 0 | 353 | 352.85 | 9 | 9 | 9 | 6 | 1.1 | 0 | 1986 | 2846 | West | 4477 | 3357.75 | 50/50 Crawlspace (unconditioned) - Conditioned Space | 0 | 0 | 78.21 | 100 | Central Heat Pump (shared ducts) | Electricity
269980 | 716.5684 | 2.44 | 0 | 91 | 90.14 | 4.5 | 5 | 5 | 46 | 0 | 0 | 1960 | 2752 | South East | 2144 | 1813 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
264803 | 3491.4634 | 11.91 | 0 | 439 | 439.23 | 9.6 | 10 | 11 | 8 | 1.7 | 0 | 1989 | 2359 | South West | 5337 | 4002.75 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 85.85 | 90.06 | Central Heat Pump (shared ducts) | Electricity
262098 | -101.6941 | 11.22 | 143 | -13 | 130.68 | 8.6 | 14 | 6 | 1 | 0.5 | 115.6132 | 1950 | 952 | South West | 3634 | 2725.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace with standalone ducts | Natural Gas | Yes
266476 | -3285.1765 | 38.62 | 618 | -413 | 205.2 | 5.2 | 46 | 15 | -4 | 0.2 | 498.375 | 1900 | 1296 | South East | 5310 | 3982.5 | 50/50 Attic - Crawlspace (both unconditioned) | 0 | 0 | 82.64 | 93.91 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
253331 | 220.153 | 5.79 | 63 | 27 | 90.28 | 6.5 | 8 | 6 | 0 | 0.4 | 50.4401 | 2005 | 2488 | West | 2467 | 1850.25 | Attic (unconditioned) | 0 | 0 | 89.12 | 89.12 | Central AC with standalone ducts | Natural Gas | No
272985 | 3559.4401 | 12.15 | 0 | 448 | 447.78 | 4.1 | 22 | 22 | 4 | 0.8 | 0 | 1988 | 2232 | South | 3203 | 2402.25 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 86.87 | 91.14 | Central Heat Pump (shared ducts) | Electricity
267530 | 1768.3343 | 30.24 | 301 | 222 | 522.91 | 10.7 | 15 | 17 | 7 | 1.4 | 242.1104 | 1938 | 2433 | East | 5385.45 | 4039.09 | Intentionally Conditioned Space | 0 | 0 | 99.71 | 99.71 | Central AC with standalone ducts | Natural Gas | No
259941 | 7489.4206 | 25.56 | 0 | 942 | 942.17 | 4.8 | 44 | 44 | 3 | 0.7 | 0 | 1977 | 1200 | North East | 1172 | 879 | Intentionally Conditioned Space | 0 | 0 | 99.71 | 100 | Central Heat Pump (shared ducts) | Electricity
254825 | 506.7999 | 3.34 | 20 | 64 | 83.81 | 8.7 | 3 | 3 | -1 | 0.3 | 16.1547 | 1989 | 3530 | South West | 4090 | 3067.5 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 80.69 | 84.96 | Central Heat Pump (shared ducts) | Electricity | Yes
273824 | 2705.9952 | 9.23 | 0 | 340 | 340.41 | 5.3 | 14 | 14 | 3 | 0.6 | 0 | 1992 | 3036 | West | 2901 | 2175.75 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 82.29 | 86.22 | Central Heat Pump (shared ducts) | Electricity
254092 | 4234.7512 | 14.45 | 0 | 533 | 532.73 | 3 | 29 | 31 | 8 | 1.8 | 0 | 1992 | 1235 | South | 1846 | 1384.5 | Attic (unconditioned) | 0 | 0 | 84.17 | 84.17 | Central Heat Pump (shared ducts) | Electricity
265707 | 838.221 | 2.87 | 0 | 105 | 105.45 | 3.4 | 7 | 7 | 0 | 0 | 0 | 1975 | 960 | South | 1581 | 1185.75 | Crawlspace (unconditioned) | 0 | 0 | 83.56 | 83.56 | Central Heat Pump (shared ducts) | Electricity
266613 | 1456.0291 | 4.97 | 0 | 183 | 183.17 | 5.8 | 7 | 8 | 6 | 1.2 | 0 | 1977 | 2100 | South East | 3061 | 2295.75 | Basement (unconditioned) | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
256107 | 507.3292 | 1.73 | 0 | 64 | 63.82 | 7.7 | 3 | 3 | -6 | 0.1 | 0 | 1996 | 2454 | North West | 2526 | 1894.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
259812 | 2691.2221 | 9.19 | 0 | 339 | 338.56 | 2.7 | 25 | 25 | 3 | 0.6 | 0 | 1996 | 2181 | West | 1760 | 1320 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
269784 | 2897.7446 | 14.7 | 169 | 365 | 533.71 | 9.1 | 12 | 12 | -5 | 0.1 | 48.1035 | 1860 | 7430 | West | 9585 | 7188.75 | 70/30 Conditioned Space - Garage (unconditioned) | 0 | 0 | 95.57 | 95.57 | Central Heat Pump (shared ducts) | Electricity | No
263712 | 2246.0442 | 7.66 | 0 | 282 | 282.55 | 6.4 | 15 | 15 | 2 | 0.5 | 0 | 2000 | 2756 | East | 3586 | 2689.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
255038 | 166.9986 | 11.9 | 140 | 21 | 161.57 | 6.1 | 11 | 10 | 0 | 0.4 | 113.2679 | 1949 | 1336 | South | 2426 | 1819.5 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 87.72 | 92.05 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
278783 | 320.4461 | 1.09 | 0 | 40 | 40.31 | 14.4 | 1 | 1 | 0 | 0.4 | 0 | 2015 | 1792 | East | 1322 | 991.5 | 50/50 Attic - Basement (both unconditioned) | 0 | 0 | 85.34 | 85.34 | Central Heat Pump (shared ducts) | Electricity
273687 | 2452.6543 | 8.37 | 0 | 309 | 308.54 | 3.9 | 17 | 17 | 45 | 0 | 0 | 1975 | 1343 | North East | 2240 | 1680 | 50/50 Basement (unconditioned) - Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
269143 | 1250.7687 | 13.08 | 110 | 157 | 266.62 | 3.5 | 19 | 20 | 4 | 0.8 | 88.0514 | 1991 | 1526 | South East | 4629 | 3471.75 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
256480 | -1366.1844 | 11.47 | 567 | -172 | 395.37 | 3.8 | 23 | 7 | 5 | 1 | 161.2898 | 1993 | 1000 | South West | 1625 | 1218.75 | Attic (unconditioned) | 0 | 0 | 84.52 | 85.6 | Central Heat Pump (shared ducts) | Propane | No
252349 | 565.2866 | 9.7 | 96 | 71 | 167.57 | 7 | 13 | 9 | 5 | 1 | 77.7272 | 1994 | 1760 | North West | 2061 | 1545.75 | Crawlspace (unconditioned) | 0 | 0 | 80.38 | 100 | Ductless Heat Pump | Electricity | Yes
251745 | 699.8079 | 2.96 | 11 | 88 | 99.47 | 8.3 | 5 | 5 | 6 | 1.3 | 5.7132 | 1994 | 1408 | North West | 1435 | 1076.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Electric Resistance | Electricity
268940 | 1152.4457 | 3.93 | 0 | 145 | 144.98 | 4 | 13 | 13 | -3 | 0.2 | 0 | 2007 | 1587 | South East | 1255 | 941.25 | Attic (unconditioned) | 0 | 0 | 88.84 | 100 | Central Heat Pump (shared ducts) | Electricity
253451 | 1511.2948 | 5.16 | 0 | 190 | 190.12 | 7.3 | 6 | 6 | 2 | 0.5 | 0 | 1998 | 6165 | South West | 4230 | 3172.5 | Attic (unconditioned) | 0 | 0 | 89.41 | 89.41 | Central Heat Pump (shared ducts) | Electricity
255067 | 2376.1528 | 8.11 | 0 | 299 | 298.92 | 3.9 | 16 | 17 | 3 | 0.7 | 0 | 1992 | 2432 | North West | 1880 | 1410 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
259699 | 1012.6667 | 3.46 | 0 | 128 | 127.39 | 3.2 | 9 | 9 | 2 | 0.6 | 0 | 1984 | 968 | North West | 4494 | 3370.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
263723 | 57.63 | 4.09 | 49 | 8 | 55.66 | 4 | 8 | 5 | -1 | 0.3 | 39.0066 | 1990 | 1216 | South East | 949 | 711.75 | Attic (unconditioned) | 0 | 0 | 86.38 | 86.38 | Central Heat Pump (shared ducts) | Natural Gas | No
296683 | 2075.5413 | 7.08 | 0 | 296 | 296.18 | 5.8 | 16 | 16 | 6 | 1.1 | 0 | 2019 | 1470 | South East | 554 | 415.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
296702 | 793.3277 | 2.71 | 0 | 113 | 113.21 | 2.4 | 10 | 10 | 0 | 0.4 | 0 | 2019 | 1444 | East | 632 | 474 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
275461 | 844.9238 | 4.37 | 19 | 106 | 124.75 | 0.51276 | 9 | 8 | 1 | 0.4 | 14.8738 | 1964 | 2786 | North East | 4040 | 3030 | 50/50 Attic - Crawlspace (both unconditioned) | 0 | 0 | 87.69 | 93.72 | Central Heat Pump (shared ducts) | Electricity | Yes
270441 | 27.7447 | 22.63 | 480 | 4 | 483.22 | 1.6762 | 18 | 16 | 8 | 1.8 | 225.412 | 1972 | 1755 | West | 2674 | 2005.5 | Basement (unconditioned) | 0 | 0 | 90.81 | 100 | Furnace / Central AC (shared ducts) | Fuel Oil
265048 | 1105.4605 | 3.78 | 0 | 139 | 139.07 | 0.35885 | 11 | 11 | -4 | 0.2 | 0 | 1999 | 1357 | North West | 1578 | 1183.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
296509 | -67.9897 | 6.75 | 79 | 18 | 47.82 | 8.2 | 8 | 5 | -2 | 0.2 | 63.3677 | 2012 | 1601 | North West | 1648 | 1236 | 50/50 Attic - Crawlspace (both unconditioned) | 0 | 0 | 81.18 | 87 | Furnace / Central AC (shared ducts) | Natural Gas | No
296814 | 5250.441 | 4.25 | 11 | 164 | 831.36 | 4.4 | 8 | 8 | 46 | 0 | 3.1196 | 1970 | 960 | North East | 3058 | 2293.5 | [5 empty] | Electric Resistance | Electricity
296884 | 1831.8838 | 13.69 | 158 | 40 | 788.05 | 6.6 | 11 | 11 | 9 | 2.1 | 127.2135 | 1973 | 2790 | South West | 6862 | 5146.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
270298 | 1591.5538 | 6.96 | 53 | 201 | 253.81 | 0.61029 | 6 | 7 | 4 | 0.9 | 15.2385 | 1998 | 4172 | East | 4081 | 3060.75 | 70/30 Conditioned Space - Garage (unconditioned) | 0 | 0 | 96.32 | 100 | Furnace with standalone ducts | Propane | Yes
265861 | 6944.2912 | 23.7 | 0 | 873 | 873.59 | 3.5662 | 27 | 27 | 7 | 1.3 | 0 | 1920 | 2400 | South West | 5630 | 4222.5 | [5 empty] | Ductless Heat Pump | Electricity
255663 | 1193.3807 | 5.55 | 18 | 150 | 168.41 | 0.4655 | 12 | 12 | 1 | 0.5 | 14.7329 | 1996 | 1768 | North East | 2012 | 1509 | 50/50 Crawlspace (unconditioned) - Conditioned Space | 0 | 0 | 83.01 | 93.22 | Central Heat Pump (shared ducts) | Electricity | Yes
264332 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1920 | 1596 | South East | 2515 | 1886.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas
267840 | 287.6498 | 0.99 | 0 | 37 | 36.19 | 0.14772 | 1 | 1 | 1 | 0.6 | 0 | 1936 | 2304 | South East | 2176 | 1632 | Attic (unconditioned) | 0 | 0 | 84.4 | 84.4 | Central Heat Pump (shared ducts) | Electricity
278380 | 2148.5278 | 27.65 | 715 | 270 | 984.87 | 1.9462 | 28 | 24 | 4 | 0.8 | 203.1876 | 1976 | 3119 | South East | 3847 | 2885.25 | Attic (unconditioned) | 0 | 0 | 78.35 | 100 | Ductless Heat Pump | Electricity
260038 | 1595.3265 | 7.04 | 20 | 200 | 220.5 | 0.90389 | 11 | 15 | 10 | 2.5 | 15.962 | 1956 | 1504 | North West | 2133 | 1599.75 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 90.21 | 94.31 | Furnace with standalone ducts | Natural Gas | No
257626 | 35.1222 | 1.92 | 22 | 4 | 26.83 | 0.10716 | 4 | 4 | 4 | 0.8 | 18.0605 | 2002 | 1344 | North West | 1900 | 1425 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 94.17 | 94.17 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
262797 | 93.4684 | 8.71 | 104 | 0 | 104.14 | 0.47527 | 1 | 1 | 2 | 0.5 | 83.9171 | 1959 | 1776 | North East | 2169 | 1626.75 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 76.29 | 85.4 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
260036 | 241.2294 | 0.33 | -6 | 31 | 24.22 | 0.097674 | 0 | 2 | 3 | 0.9 | -4.9429 | 1970 | 960 | South East | 3730 | 2797.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
252864 | 1189.0531 | 6.84 | 59 | 150 | 208.83 | 0.5919 | 11 | 11 | 2 | 0.6 | 27.8416 | 1952 | 960 | West | 1783 | 1337.25 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 89.05 | 93.06 | Furnace / Central AC (shared ducts) | Fuel Oil
266617 | 1113.6787 | 4.91 | 14 | 140 | 153.97 | 0.63117 | 7 | 8 | 5 | 1 | 11.1761 | 1925 | 1671 | North West | 5219 | 3914.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
259225 | 145.7349 | 7.42 | 86 | 18 | 104.25 | 0.44194 | 11 | 9 | 2 | 0.5 | 69.2379 | 1900 | 252 |  | 1707 | 1280.25 | [5 empty] | Room AC | Natural Gas
273761 | 3969.2507 | 13.54 | 0 | 500 | 499.33 | 1.2885 | 18 | 19 | 4 | 0.9 | 0 | 1959 | 2874 | North West | 3296 | 2472 | Attic (unconditioned) | 0 | 0 | 88.9 | 100 | Central Heat Pump (shared ducts) | Electricity
258532 | 42.2191 | 5.3 | 64 | 5 | 69.22 | 0.28676 | 18 | 15 | 5 | 1.1 | 51.5008 | 1990 | 948 | North West | 777 | 582.75 | Attic (unconditioned) | 0 | 0 | 87.74 | 87.74 | Furnace / Central AC (shared ducts) | Natural Gas | No
253805 | 997.4092 | 3.41 | 0 | 125 | 125.47 | 0.51221 | 15 | 15 | 2 | 0.6 | 0 | 1968 | 672 | South East | 760 | 570 | [5 empty] | Direct Heater | Electricity
264106 | 248.7757 | 7.97 | 88 | 32 | 119.59 | 0.50497 | 14 | 11 | -2 | 0.3 | 71.1465 | 1964 | 916 | North East | 1687 | 1265.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Room AC | Natural Gas | No
263144 | 1160.032 | 9.3 | 66 | 146 | 212.23 | 0.65983 | 10 | 10 | 4 | 0.8 | 53.4273 | 1956 | 1933 | South East | 3641 | 2730.75 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 86.07 | 90.3 | Central Heat Pump (shared ducts) | Electricity | No
258841 | 3235.2263 | 11.05 | 0 | 407 | 406.99 | 1.0502 | 22 | 22 | 7 | 1.3 | 0 | 1965 | 1591 | North East | 2156 | 1617 | Crawlspace (unconditioned) | 0 | 0 | 86.44 | 100 | Central Heat Pump (shared ducts) | Electricity
258728 | 293.3248 | 9.3 | 103 | 37 | 139.93 | 0.59083 | 9 | 7 | 7 | 1.3 | 83.0254 | 1953 | 858 | South East | 2644 | 1983 | Basement (unconditioned) | 0 | 0 | 100 | 100 | Furnace with standalone ducts | Natural Gas | No
255620 | 1166.6624 | 3.98 | 0 | 147 | 146.77 | 0.37871 | 5 | 5 | 3 | 0.7 | 0 | 1992 | 3117 | West | 3383 | 2537.25 | 50/50 Crawlspace (unconditioned) - Conditioned Space | 0 | 0 | 90.12 | 90.12 | Central Heat Pump (shared ducts) | Electricity
259112 | 4575.4822 | 15.62 | 0 | 576 | 575.6 | 1.4853 | 16 | 16 | 6 | 1.3 | 0 | 1968 | 1647 | North West | 3854 | 2890.5 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 100 | 100 | Direct Heater | Electricity
255654 | 885.9759 | 3.02 | 0 | 112 | 111.46 | 0.45498 | 16 | 16 | 0 | 0.3 | 0 | 1969 | 832 | South East | 2131 | 1598.25 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 93.18 | 92.77 | Central Heat Pump (shared ducts) | Electricity
271524 | 3121.1671 | 10.65 | 0 | 392 | 392.64 | 1.0132 | 21 | 21 | -1 | 0.3 | 0 | 1979 | 2576 | East | 5004 | 4078 | Basement (unconditioned) | 0 | 0 | 92.21 | 91.34 | Central Heat Pump (shared ducts) | Electricity
269147 | 193.6813 | 7.37 | 83 | 25 | 107.64 | 0.41866 | 9 | 7 | -6 | 0.1 | 67.1045 | 1962 | 2602 | South East | 3196 | 2397 | 50/50 Crawlspace (unconditioned) - Conditioned Space | 0 | 0 | 95.09 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
255296 | 5496.7592 | 18.76 | 0 | 692 | 691.49 | 1.7843 | 20 | 21 | 6 | 1.1 | 0 | 1954 | 2420 |  | 4006 | 3004.5 | Crawlspace (unconditioned) | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
273328 | 1837.1924 | 10.38 | 145 | 231 | 375.59 | 0.84885 | 13 | 12 | 4 | 0.8 | 41.0796 | 1992 | 3502 | North | 3213 | 2409.75 | Basement (unconditioned) | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity | Yes
278933 | 50.0157 | 20.27 | 250 | 7 | 255.62 | 1.0815 | 23 | 21 | 0 | 0 | 200.9118 | 1947 | 1057 | East | 2084 | 1563 | Crawlspace (unconditioned) | 0 | 0 | 78.67 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
275941 | 1109.0895 | 3.78 | 0 | 140 | 139.52 | 0.56956 | 9 | 9 | 6 | 1.3 | 0 | 1981 | 1152 | North East | 2015 | 1511.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
273078 | 9368.2668 | 31.97 | 0 | 1178 | 1178.53 | 5.5 | 46 | 47 | 4 | 0.8 | 0 | 1971 | 978 | North West | 2895 | 2171.25 |  |  | 0 |  | 100 | Central Heat Pump (shared ducts) | Electricity
273466 | 3067.1704 | 10.46 | 0 | 386 | 385.85 | 1.5751 | 28 | 28 | 1 | 0.5 | 0 | 1993 | 1080 | North West | 1559 | 1169.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
252766 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1999 | 1529 | North | 1857 | 1392.75 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 94.73 | 93.23 | Central Heat Pump (shared ducts) | Electricity
250069 | 1003.6954 | 3.42 | 0 | 126 | 126.27 | 0.51544 | 9 | 9 | -6 | 0.1 | 0 | 1961 | 1141 | North East | 1564 | 1173 | Crawlspace (unconditioned) | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
250105 | -2017.8631 | 25.01 | 396 | -254 | 142 | 0.655 | 45 | 13 | 1 | 0.6 | 318.984 | 1951 | 1108 | North | 2637 | 1977.75 | Attic (unconditioned) | 0 | 0 | 87.35 | 85.03 | Central Heat Pump (shared ducts) | Natural Gas | No
275017 | 7823.9611 | 26.7 | 0 | 984 | 984.25 | 4.0179 | 55 | 55 | 6 | 1.3 | 0 | 1964 | 1008 | North East | 2976 | 2232 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 89.47 | 100 | Room AC | Electricity
250858 | 375.4358 | 1.28 | 0 | 47 | 47.23 | 0.12187 | 3 | 3 | 20 | 13.6 | 0 | 2004 | 1496 | South | 1045 | 783.75 | 50/50 Crawlspace (unconditioned) - Conditioned Space | 0 | 0 | 87.6 | 92.93 | Central Heat Pump (shared ducts) | Electricity
249142 | 2427.4922 | 8.28 | 0 | 306 | 305.38 | 1.2466 | 12 | 12 | 0 | 0.4 | 0 | 2003 | 3472 | North West | 1964 | 1473 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Electric Resistance | Electricity
250880 | 103.2006 | 6.01 | 70 | 13 | 83.16 | 0.35282 | 6 | 4 | 0 | 0.4 | 56.5488 | 1972 | 2084 | South East | 2051 | 1538.25 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 87.33 | 91.21 | Furnace with standalone ducts | Natural Gas
250333 | 25.7632 | 6.4 | 78 | 3 | 81.58 | 0.34793 | 7 | 5 | 3 | 0.7 | 63.1273 | 1968 | 2000 | North East | 2749 | 2061.75 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 87.45 | 91.35 | Furnace with standalone ducts | Natural Gas
270264 | 9.5689 | 11.9 | 196 | 1 | 196.82 | 1.0629 | 12 | 11 | 10 | 2.3 | 118.7055 | 1979 | 936 | East | 1450 | 1087.5 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 90.19 | 94.29 | Central Heat Pump (shared ducts) | Fuel Oil
216395 | 269.8444 | 64.38 | 2313 | 38 | 2351.9 | 4.0387 | 36 | 28 | 11 | 2.9 | 634.5714 | 1923 | 2210 | West | 3446 | 2584.5 | Crawlspace (unconditioned) | 0 | 0 | 82.05 | 100 | Central Heat Pump (shared ducts) | Propane | No
267807 | -78.869 | 12.71 | 161 | -10 | 151.21 | 0.66281 | 13 | 10 | 2 | 0.6 | 129.8402 | 1900 | 2232 | South West | 9212 | 6909 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace with standalone ducts | Natural Gas | Yes
271720 | 1176.9741 | 4.01 | 0 | 148 | 148.06 | 0.60442 | 7 | 7 | -6 | 0.1 | 0 | 1900 | 1666 | South East | 5399 | 4049.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
250605 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -100 | 0 | 0 | 1972 | 1260 | South | 1924 | 1443 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
261447 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1930 | 1408 | North East | 6603 | 4952.25 | [5 empty] | Direct Heater | Propane
250095 | 27 | 6.05 | 74 | 4 | 77.23 | 0.32956 | 1 | 1 | 1 | 0.5 | 59.5419 | 1955 | 1066 | South | 2512 | 1884 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 88.88 | 92.89 | Furnace with standalone ducts | Natural Gas
278190 | 1403.5663 | 4.79 | 0 | 177 | 176.57 | 0.45561 | 7 | 7 | 0 | 0 | 0 | 1949 | 1008 | North | 2390 | 1792.5 | [5 empty] | Electric Resistance | Electricity
250524 | -6022.6304 | 26.54 | 584 | -757 | -173.12 | 0.54234 | 34 | 11 | -15 | 0 | 471.0224 | 1963 | 1704 | South East | 2516 | 1887 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
265928 | 2533.775 | 11.04 | 84 | 318 | 402.88 | 1.4482 | 21 | 19 | 9 | 2.1 | 23.9227 | 1975 | 1280 | South East | 2592.73 | 1252.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
252361 | 22.8396 | 4.21 | 51 | 3 | 54.06 | 0.22613 | 4 | 3 | 1 | 0.4 | 41.2525 | 2002 | 1697 | North East | 1777 | 1332.75 | Attic (unconditioned) | 0 | 0 | 79.7 | 89.15 | Furnace / Central AC (shared ducts) | Natural Gas | No
253256 | -7.124 | 5.14 | 64 | -1 | 63.26 | 0.27182 | 3 | 3 | -1 | 0.3 | 51.7034 | 1956 | 2000 | West | 4137 | 3102.75 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace with standalone ducts | Natural Gas
268657 | 310.8846 | 4.85 | 47 | 39 | 86.1 | 0.3604 | 7 | 6 | 1 | 0.5 | 37.8629 | 1989 | 1701 | North East | 2183 | 1637.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | Yes
211428 | 2310.6592 | 13.58 | 71 | 330 | 400.47 | 1.0523 | 19 | 18 | 0 | 0.4 | 57.0034 | 1996 | 2717 | North | 2742 | 2056.5 | Attic (unconditioned) | 338 | 169 | 62.65 | 76.47 | Central Heat Pump (shared ducts) | Electricity
265465 | 4569.1578 | 15.59 | 0 | 574 | 574.8 | 2.3464 | 24 | 24 | 9 | 1.7 | 0 | 1989 | 1380 | North West | 2343 | 1757.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Ductless Heat Pump | Electricity
249554 | -1464.4171 | 42.9 | 1019 | -184 | 835.17 | 3.0672 | 37 | 31 | 3 | 0.7 | 478.9873 | 1964 | 1776 | South East | 2560 | 1920 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
250299 | 33.9087 | 6.11 | 74 | 5 | 78.64 | 0.32874 | 6 | 5 | 1 | 0.4 | 59.9272 | 1962 | 1072 | South | 5680 | 4260 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 88.87 | 92.88 | Furnace / Central AC (shared ducts) | Natural Gas
250509 | 87.5342 | 0.3 | 0 | 11 | 11.01 | 0.028415 | 0 | 0 | -8 | 0.1 | 0 | 1995 | 1330 | East | 1910 | 1432.5 | Attic (unconditioned) | 0 | 0 | 91.53 | 89.94 | Central Heat Pump (shared ducts) | Electricity
265128 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1961 | 1718 | South East | 1830 | 1372.5 | Crawlspace (unconditioned) | 0 | 0 | 88.62 | 88.62 | Central Heat Pump (shared ducts) | Electricity | Yes
276919 | -4077.1971 | 45.4 | 890 | -513 | 376.86 | 3.4702 | 51 | 35 | 3 | 0.7 | 593.1797 | 1976 | 2004 | South | 2617 | 1962.75 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Stove or Insert | Wood
252785 | 113.5922 | 6.96 | 140 | 15 | 154.23 | 0.54465 | 9 | 7 | 3 | 0.7 | 65.7533 | 1971 | 1232 | West | 1302 | 976.5 | Intentionally Conditioned Space | 0 | 0 | 99.71 | 99.71 | Central AC with standalone ducts | Fuel Oil
250322 | 898.8121 | 3.07 | 0 | 113 | 113.07 | 0.29177 | 5 | 5 | 5 | 1 | 0 | 1973 | 960 | East | 4311 | 3233.25 | Crawlspace (unconditioned) | 0 | 0 | 83.41 | 83.41 | Central Heat Pump (shared ducts) | Electricity
271528 | 2972.0581 | 10.14 | 0 | 374 | 373.89 | 1.5263 | 20 | 20 | 5 | 0.9 | 0 | 1959 | 1084 | North East | 2041 | 1798 | Basement (unconditioned) | 0 | 0 | 85 | 88.86 | Central Heat Pump (shared ducts) | Electricity
250933 | 2112.5499 | 7.21 | 0 | 266 | 265.76 | 1.0849 | 9 | 11 | -1 | 0.3 | 0 | 1965 | 1063 | East | 1971 | 1478.25 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 83.75 | 87.79 | Central Heat Pump (shared ducts) | Electricity
250481 | 7946.9166 | 27.12 | 0 | 1000 | 999.72 | 2.5797 | 49 | 49 | 5 | 0.9 | 0 | 1981 | 1230 | South East | 1383 | 1037.25 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 92.59 | 92.59 | Central Heat Pump (shared ducts) | Electricity
268387 | 17.9989 | 5.32 | 112 | 2 | 114.15 | 0.39809 | 8 | 6 | 3 | 0.6 | 52.5751 | 1969 | 961 | East | 1420 | 1065 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 89.05 | 93.06 | Room AC | Fuel Oil
250336 | 667.6518 | 2.28 | 0 | 84 | 83.99 | 0.34287 | 6 | 6 | -9 | 0.1 | 0 | 1986 | 937 | South East | 1360 | 1020 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 93.06 | 93.06 | Central Heat Pump (shared ducts) | Electricity
250070 | 4345.0635 | 14.83 | 0 | 546 | 546.61 | 2.2314 | 31 | 42 | 0 | 0 | 0 | 2021 | 1812 | South West | 1535 | 1151.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Ductless Heat Pump | Electricity | Yes
251533 | 9797.3966 | 33.44 | 0 | 1233 | 1232.51 | 3.1804 | 36 | 36 | 5 | 0.9 | 0 | 1977 | 3691 | East | 4251 | 3188.25 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 86.24 | 100 | Central Heat Pump (shared ducts) | Electricity
251963 | 4180.1489 | 14.27 | 0 | 526 | 525.86 | 1.3569 | 26 | 26 | 5 | 1 | 0 | 2002 | 2276 | South West | 1614 | 1210.5 | Attic (unconditioned) | 0 | 0 | 90.51 | 90.51 | Central Heat Pump (shared ducts) | Electricity
297525 | 795.7859 | 2.72 | 0 | 114 | 113.56 | 0.40867 | 11 | 11 | 11 | 3.2 | 0 | 2012 | 1144 | East | 592 | 444 | Attic (unconditioned) | 0 | 0 | 83.93 | 83.93 | Central Heat Pump (shared ducts) | Electricity
297452 | 519.7278 | 10.79 | 112 | 75 | 185.99 | 0.74468 | 12 | 9 | 10 | 2.5 | 90.1122 | 1961 | 1850 | West | 2895 | 2171.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
297987 | 567.604 | 1.94 | 0 | 81 | 81 | 0.29149 | 7 | 7 | -1 | 0.3 | 0 | 2019 | 1218 | North West | 492 | 369 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
296339 | 394.1183 | 20.62 | 236 | 66 | 251.35 | 7.1 | 21 | 15 | 5 | 1.1 | 190.4587 | 1925 | 962 | South West | 2000 | 1500 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
298143 | 3906.3412 | 0.99 | 0 | 41 | 557.43 | 3.9 | 2 | 2 | 0 | 0 | 0 | 1985 | 2200 | West | 1715 | 1286.25 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
297829 | 84.3323 | 9.83 | 118 | 13 | 235.12 | 5.9 | 10 | 8 | 10 | 2.4 | 95.1914 | 1989 | 1888 | South East | 3537 | 3375 | 50/50 Attic - Crawlspace (both unconditioned) | 0 | 0 | 79.66 | 93.15 | Furnace / Central AC (shared ducts) | Natural Gas | No
298188 | 5.5599 | 0 | 0 | 0 | 0.79 | 3.9 | 0 | 0 | -6 | 0.2 | 0 | 2019 | 1360 | South East | 523 | 392.25 | Intentionally Conditioned Space | 44 | 22 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
298050 | 5305.6963 | 10 | 0 | 418 | 757.12 | 5.4 | 22 | 22 | 8 | 1.9 | 0 | 1991 | 1546 | North | 2681 | 2010.75 | Attic (unconditioned) | 0 | 0 | 85.66 | 85.66 | Central Heat Pump (shared ducts) | Electricity
296878 | 878.6071 | 7.33 | 159 | 126 | 283.46 | 0.55172 | 11 | 10 | 23 | 23.7 | 43.3631 | 1962 | 835 | North | 2404 | 1803 |  |  | 0 |  | 100 | Room AC | Propane
300065 | 349.5162 | 0.54 | 0 | 22 | 49.88 | 4.5 | 2 | 2 | 1 | 0.6 | 0 | 1992 | 1020 | South West | 1156 | 1020 | Attic (unconditioned) | 0 | 0 | 80.07 | 85.49 | Central Heat Pump (shared ducts) | Electricity
284273 | 1043.0383 | 3.28 | 0 | 137 | 148.84 | 4.9 | 6 | 6 | 16 | 7.6 | 0 | 1982 | 2304 | North | 3106 | 2329.5 | 50/50 Basement (unconditioned) - Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
300299 | 4444.9429 | 15.17 | 0 | 634 | 634.29 | 1.4429 | 23 | 23 | 11 | 3.1 | 0 | 1968 | 1344 | North | 2173 | 1629.75 | 50/50 Attic - Basement (both unconditioned) | 0 | 0 | 87.92 | 87.92 | Central AC with standalone ducts | Electricity
300344 | 3993.8258 | 13.63 | 0 | 444 | 444.86 | 1.2964 | 99 | 99 | 6 | 1.3 | 0 | 2001 | 2463 | North East | 3933 | 2949.75 | Attic (unconditioned) | 0 | 0 | 84.34 | 88.95 | Central Heat Pump (shared ducts) | Electricity
300955 | -20.4278 | 12.09 | 156 | 514 | 419.96 | 4.9 | 17 | 11 | 11 | 3.2 | 125.936 | 1982 | 1482 | North | 1966 | 1474.5 | Crawlspace (unconditioned) | 0 | 0 | 81.07 | 100 | Furnace / Central AC (shared ducts) | Natural Gas | No
301075 | 1207.6974 | 4.12 | 0 | 172 | 1130.56 | 9.6 | 6 | 6 | 4 | 0.9 | 0 | 1976 | 1949 | North East | 2337 | 1752.75 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
295958 | 277.8057 | 2.04 | 0 | 374 | 244.56 | 2.4 | 7 | 7 | 0 | 0 | 0 | 2017 | 1152 | North | 1183 | 887.25 | 50/50 Attic (unconditioned) - Conditioned Space | 0 | 0 | 92.18 | 92.18 | Central Heat Pump (shared ducts) | Electricity
297308 | 261.8071 | 14.56 | 170 | 216 | 385.01 | 0.85886 | 16 | 13 | 6 | 1.3 | 136.6296 | 1945 | 877 | North West | 2500 | 1875 | Crawlspace (unconditioned) | 0 | 0 | 86.25 | 81.34 | Furnace / Central AC (shared ducts) | Natural Gas | No
301380 | 1493.7144 | 41.2 | 1094 | 567 | 1660.77 | 3.1551 | 39 | 37 | 15 | 6.1 | 361.0379 | 1963 | 1872 | West | 2500 | 2200 | Crawlspace (unconditioned) | 0 | 0 | 85.56 | 80.9 | Stove or Insert | Wood
301381 | 1038.6309 | 33.8 | 375 | 294 | 669.88 | 2.1375 | 35 | 30 | 8 | 1.6 | 302.5448 | 1961 | 1050 | South East | 3555 | 2666.25 | Crawlspace (unconditioned) | 0 | 0 | 85.89 | 81.45 | Furnace with standalone ducts | Natural Gas | Yes
301432 | 130.7793 | 3.13 | 33 | 138 | 207.99 | 7 | 3 | 3 | 4 | 0.8 | 26.8426 | 1954 | 1040 | North West | 4812 | 4331 | [5 empty] | Boiler | Natural Gas | No
300895 | 3605.3405 | 22.15 | 0 | 926 | 518.42 | 7.1 | 27 | 32 | 11 | 2.9 | 0 | 1987 | 4127 | East | 4968 | 3726 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Central Heat Pump (shared ducts) | Electricity
301527 | 30.2776 | 6.27 | 187 | 4 | 191.15 | 0.47154 | 11 | 9 | 0 | 0 | 61.6533 | 1963 | 912 | North West | 1502 | 1126.5 | Intentionally Conditioned Space | 0 | 0 | 100 | 100 | Furnace / Central AC (shared ducts) | Fuel Oil